Renewable Energy Generating System

Annexure-I

(Commissioning Report for RE System)

- Name of the Consumer			TULSHIRAM GOPINATHRAO KULKARNI

- Consumer Number				551112013560

- Mobile Number				9423626740

- E-mail

- Address of Installation			H.NO. 3/346/31 KAWTHA NANDED 431606

- RE Arrangement Type			NET METERING

- RE Source					SOLAR

- Sanctioned Capacity(KW)			3.3

- Capacity Type					ROOFTOP

- Project Model					CAPEX

- RE installed Capacity(Rooftop)(KW)		3.3

- RE installed Capacity(Rooftop+Ground)

(KW)						NA

- RE installed Capacity (Ground) (KW)	NA

- Installation date				18/06/2025

- Solar PV Details

Inverter Capacity(KW)			3.3

Inverter Make					Solax Power

No.of PV Modules				06

Module Capacity (KW)			3.3

Proforma-A

COMMISSIONING REPORT (PROVISIONAL) FOR GRID CONNECTED SOLAR

PHOTOVOLTAIC POWER PLANT (with Net-metering facility)

Certified that a Grid Connected SPV Power Plant of 3.3KWp capacity has been installed at the site H.NO. 3/346/31 KAWTHA NANDED 431606,District NANDED of MAHARASHTRA which has been installed by                                    M/S UMAR SOLAR SERVICES on 18/06/2025.The system is as per BIS/MNRE specifications. The system has been checked for its performance and found in order for further commissioning.

Signature of the beneficiary		Signature of the agency with name, seal and date

The above RTS installation has been inspected by me for Pre-Commissioning Testing of Roof Top Solar Connection on dt _____________ as per guidelines issued by the office of The Chief Engineer vide letter no 21653 on dt. 18.08.2022 and found in order for commissioning.

Signature of the MSEDCL Officer

Name,

Designation

Date and seal