# Work Completion Report for Solar Power Plant

| Sr.No | Component | Observation |
| --- | --- | --- |
| 1 | Name | TULSHIRAM GOPINATHRAO KULKARNI |
| 2 | Consumer number | 551112013560 |
| 3 | Site/Location With Complete Address | KULKARNI H.NO. 3/346/31 KAWTHA NANDED 431606 |
| 4 | Category: Govt/Private Sector | Private Sector |
| 5 | Sanction number | 4724/NANDED (U) MIDC SDN./ 64803501 |
| 6 | Sanctioned Capacity of solar PV system (KW) Installed | 3.3 |
|  | Capacity of solar PV system (KW) | 3.3 |
| 7 | Specification of the Modules |  |
|  | Make of Module | ECE Energies |
|  | ALMM Model Number | ECE144M550 |
|  | Wattage per module | 550Wp |
|  | No. of Module | 06 |
|  | Total Capacity (KWP) | 3.3 |
|  | Warrantee Details (Product + Performance) | 12+27 |
| 8 | PCU |  |
|  | Make & Model number of Inverter | Solax Power |
|  | Rating | 3.3kW 1PH |
|  | Type of charge controller/ MPPT | MPPT |
|  | Capacity of Inverter | 3.3KW 1PH |
|  | HPD | LCD |
|  | Year of manufacturing | 2025 |
| 9 | Earthing and Protections |  |
|  | No. of Separate Earthings with earth Resistance | 3 No. 2.56Ω 141Ω 2.8Ω |
|  | It is certified that the Earth Resistance measure in presence of Licensed Electrical Contractor/Supervisor and found in order i.e. < 5 Ohms as per MNRE OM Dtd. 07.06.24 for CFA Component. |  |
|  | Lightening Arrester | Yes |

We UMAR SOLAR SERVICES [Vendor]& TULSHIRAM GOPINATHRAO KULKARNI.[Consumer] bearing Consumer Number 551112013560. Ensured structural stability of installed solar power plant and obtained requisite permissions from the concerned authority. If in future, by virtue of any means due to collapsing or damage to installed solar power plant, MSEDCL will not be held responsible for any loss to property or human life, if any.

This is to Certified above Installed Solar PV System is working properly with electrical safety & Islanding switch in case of any presence of backup inverter an arrangement should be made in such way the backup inverter supply should never be synchronized with solar inverter to avoid any electrical accident due to back feeding. We will be held responsible for non-working of islanding mechanism and back feed to the de-energized grid.

Signature [Vendor]	Signature [Consumer]

Guarantee Certificate Undertaking to be submitted by VENDOR

The undersigned will provide the services to the consumers for repairs/maintenance of the RTS plant free of cost for 5 years of the comprehensive Maintenance Contract (CMC) period from the date of commissioning of the plant. Non performing/under-performing system component will be replaced/repaired free of cost in the CMC period.

Signature [Vendor] Stamp & Seal

Identity Details of Consumer: -

Aadhar Number 6651 5644 2507